Bathroom mmWave Sensors (×3) — Network / Port Reference

For firewall configuration · TCP 6053 (ESPHome Native API)

■ Network Diagram (reference)

■ Requests

1. Could you please open TCP 6053 between the FCC monitoring PC and the three sensors?

2. For each sensor MAC, we would be grateful if you could reserve a fixed IP (DHCP reservation) and share the assigned IPs with us — the table below may be used.

3. We would also appreciate it if you could reserve a fixed IP for the FCC monitoring PC (or kindly let us know its fixed IP), so that the firewall source can be set correctly.

4. If device-to-device traffic is currently blocked, could you please allow this communication (or disable client isolation) as appropriate?

5. Lastly, could you kindly confirm whether the current block is (1) a specific-port block or (2) a block on device-to-device traffic (client isolation)?

■ Connection Details

| Protocol / Port | TCP 6053 (open to all 3 sensors) |
| --- | --- |
| Direction | FCC PC -> each sensor (the PC initiates the connection) |
| Monitoring IP | ___ . ___ . ___ . ___ (please enter) |
| Inference server IP | ___ . ___ . ___ . ___ (please enter) |
| Data | Position coordinates only (no video or audio) |

* Monitoring IP and Inference server IP are the IPs required for the MACS solution.

■ Sensor Information (targets for fixed-IP reservation)

The MAC addresses below are fixed. We would appreciate it if you could enter the fixed IP reserved for each MAC in the right-hand column.

| Sensor | MAC Address (fixed) | Reserved IP (please enter) |
| --- | --- | --- |
| Sensor 1 | A4:F0:0F:98:BD:80 | ___ . ___ . ___ . ___ |
| Sensor 2 | 20:E7:C8:BC:0E:00 | ___ . ___ . ___ . ___ |
| Sensor 3 | 00:70:07:B9:A0:7C | ___ . ___ . ___ . ___ |

* Sensors are not yet installed on-site. If a fixed IP is reserved for each MAC in advance, each sensor will connect on that IP automatically upon installation.

■ Please Confirm (type of block)

Whenever convenient, could you please let us know which of the following applies to the current block?

(1) Specific-port block  ->  opening the TCP 6053 exception above resolves it.

(2) Device-to-device traffic block (client isolation)  ->  separately from opening 6053, client isolation must be disabled (or the two devices whitelisted to communicate).