Bathroom Presence-Sensor Communication — Firewall Port (TCP 6053) Opening Request

Network Installation · Request to IT Team

Hello IT Team,
For the bathroom occupancy-monitoring PoC, three mmWave sensors to be installed in the bathroom will send data through the patient-room Wi-Fi to the monitoring PC in the FCC room. We kindly request the configuration below so this communication can work. (Data path: see the diagram at the end of this document.)

■ Requests

1. Open TCP 6053 between the FCC monitoring PC and the 3 sensors.

2. Reserve a fixed IP for each sensor MAC (DHCP reservation), then reply with the assigned IPs (please fill in the table below).

3. Reserve a fixed IP for the FCC monitoring PC (or advise its fixed IP) — to set the firewall source.

4. If device-to-device traffic is blocked, please allow this communication / disable client isolation.

5. [Please confirm] whether the current block is (1) a specific-port block or (2) a block on device-to-device traffic (client isolation).

■ Connection Details

| Protocol / Port | TCP 6053 (ESPHome Native API · open to all 3 sensors) |
| --- | --- |
| Direction | FCC PC -> each sensor (the PC initiates the connection) |
| Source (FCC PC) IP | ___ . ___ . ___ . ___ <- fill in |
| Data | Position coordinates only (no video or audio) |

■ Sensor Information (targets for fixed-IP reservation)

The MAC addresses are fixed values. Please enter the fixed IP reserved for each MAC in the right-hand column and reply.

| Sensor | MAC Address (fixed) | Reserved IP (fill in) |
| --- | --- | --- |
| Sensor 1 | A4:F0:0F:98:BD:80 | ___ . ___ . ___ . ___ |
| Sensor 2 | 20:E7:C8:BC:0E:00 | ___ . ___ . ___ . ___ |
| Sensor 3 | 00:70:07:B9:A0:7C | ___ . ___ . ___ . ___ |

* The sensors are not yet installed on-site. If you reserve a fixed IP for each MAC in advance, each sensor will connect on that IP automatically upon installation — no on-site lookup needed.

■ Please Confirm (type of block)

Please let us know which of the following applies to the current block:

(1) Specific-port block  ->  opening the TCP 6053 exception above resolves it.

(2) Device-to-device traffic block (client isolation)  ->  separately from opening 6053, client isolation must be disabled (or the two devices whitelisted to communicate).

Thank you.

■ Network Diagram (reference)